








CITY OF SOMERVILLE MASSACHUSETTS


SOMERVILLE CITY HALL


93 HIGHLAND AVENUE


SOMERVILLE MA. 02143


BIDDING INSTRUCTIONS FOR  


COMMERCIAL WATER METER REPLACEMENT, REPAIR AND MAINTENANCE


Bid No. 06-24


	


Enclosed you will find an invitation to bid for: Commercial Water Meter Replacement, Repair and Maintenance for the City of Somerville.  Contract is for 1 year, with two one-year options to renew.





When submitting bid, please identify the bid item and number clearly.  All bids must be sealed and delivered to Purchasing Department, City of Somerville, 93 Highland Ave., Somerville, MA  02143.  Please mark the outside of all bid envelopes with the Bid number above and write “Water Meters” on the bid envelope.





BIDS SUBMITTED MUST BE AN ORIGINAL.





The completion of the following forms is necessary for consideration of a potential contract award.  When submitting bid documents, please retain the order of documents as originally provided.





"Notice to Bidders" signed by person submitting bid.





"Signature Form" complete when submitting your bid.





Tax Compliance/Non Collusion Form





NOTE:  	If Vendor is incorporated an updated “CERTIFICATE OF GOOD STANDING” from the Commonwealth of Massachusetts will be needed for the awarded vendor only.  





CITY HALL HOURS HAVE BEEN CHANGED.  WE ARE OPEN UNTIL 7:30 P.M. ON THURSDAYS AND CLOSE ON FRIDAYS AT 12:30 P.M.





Please review and return with your sealed bids as sent.  Also, insure that all forms are completed and your bid response is submitted as requested.





Your cooperation is greatly appreciated.




















�






NOTICE TO BIDDERS


BID #06-24





All bids must be in accordance with terms and conditions set forth herein as stated.





SECTION A.	Sealed bids for: Commercial Water Meter Replacement, Repair and Maintenance from March 1, 2006 through February 28, 2007 with two (2) one-year options to renew.  The bids will be received at the office of the Purchasing Director, Somerville City Hall, 93 Highland Avenue, Somerville, MA. 02143 no later than Wednesday, March 8, 2006 at 11:00 A.M. at which time and place they will be publicly opened and read.  





SECTION B.     	Forms of price bid, specifications and terms of contract can be obtained at the above office on or after February 16, 2006.





SECTION C.     	Bid envelopes shall be clearly marked as follows: "Bid No: 06-24,


   	Water Meters”.





SECTION D.	If awarded vendor is a Corporation, vendor must comply with request for “Certificate of Good Standing”.   See attached instructions.





SECTION E.	INSURANCE:  Awarded Vendor must comply with insurance requirements as stated in the bid package.





SECTION F.   	 	Living Wage	- N/A


�	


SECTION G.	The requirements in Section E or F will be waived if the words "Non-Applicable" (N/A) are inserted in the space designated.





SECTION H.	The Purchasing Director reserves the right to accept or reject any or all bids, to waive any minor informalities, to divide the award, to amend any specifications or to accept any portion of a bid, if in her sole judgment, the best interest of the City of Somerville would be served by so doing.





		  


SECTION I.	The City reserves the right to cancel a contract, if awarded bidder does not respond to all necessary documents and required signature forms within twenty (20) working days of receipt of contract.





	


Signature:


�


�Company:





By:  _________________________________      Title:______________________________





Date:                            Tel. No: ___________________   Fax:_____________________


�
 





CERTIFICATE IN GOOD STANDING





TO:           Vendor





FROM:     Purchasing Department





RE:           CERTIFICATE IN GOOD STANDING





The Awarded Vendor must comply with our request for a CURRENT “Certificate in Good Standing”.





         If you require information on how to obtain the “Certificate in Good Standing” or Certificate of Registration (Foreign Corporations) from the Commonwealth of Massachusetts, please call the Secretary of State’s Office at (617) 727-2850 (Press #1) located at One (1) Ashburton Place, 17th Floor, Boston, MA  02133 or you may access their web site at: www.MA.GOV/SEC/COR





         If your company is incorporated outside of Massachusetts and therefore is a “foreign corporation”, but is registered to do business in Massachusetts, please comply with our request for the Certificate of Registration from the Commonwealth of Massachusetts.  If your company is a foreign corporation, but is not registered to do business in Massachusetts, please provide the Certificate of Good Standing from your state of incorporation.





         Please note that without the above certificate (s), the City of Somerville cannot execute your contract. 








IMPORTANT NOTICE





Requests for Certificates in Good Standing by mail may take a substantial amount of time.  A certificate may be obtained immediately in person at the Secretary’s Office at the address above.  Also, at this time, the Secretary of State’s Office may not have your current annual report recorded.  If this is the case, and you are therefore unable to obtain the Certificate of Good Standing, please forward a copy of your annual report filing fee check with your signed contracts.  Please forward your original Certificate of Good Standing to the Purchasing Department upon receipt.





Thank You,


Purchasing Director





�



TERMS AND CONDITIONS





l.  	FREIGHT ON BOARD (F.O.B.)


All prices are to be firm, F.O.B. delivered destination (Somerville), to the address specified on the "Notice to Bidders" (Form #2) or any other department location doing business for the City of Somerville in need of such services.





2.	UNIT PRICE


In case of error in extension of prices quoted herein, the unit price will govern.





3.	PRICE REDUCTION


It is understood and agreed that should any price reductions occur between the opening of this bid and completion of this delivery, the benefit of all such reductions will be extended.





4.   	CANCELLATION OF BID


To withdraw, cancel, correct or modify a bid at any time prior to the bid opening date, a bidder must submit such request in writing to the Purchasing Director.  Correction or modifications must be sealed when submitted.





5.	SAMPLES


The qualified low bidder will be required to submit samples upon request of the Purchasing Director.  Acceptable samples will be a determining factor in the vendor selection process.





6.	FINANCIAL AND OPERATIONAL INFORMATION


By submitting a bid, the bidder authorizes the City of Somerville to contact any and all parties referenced by the bidder regarding financial and operational information.





7.	PAYMENT


The City of Somerville shall make no payment for a supply or service rendered prior to the execution of this contract.





8.	DOCUMENTATION


Please find attached exhibit copies of contract forms which the successful bidder will be required to sign.





10.	EXTENSION OF CONTRACT


The City reserves the right to extend the time of any contract resulting from the bid as needed and/or to increase the value by 25% at the sole discretion of the Purchasing Director.























CERTIFICATE OF NON-COLLUSION


The undersigned certifies under penalties of perjury that this bid or proposal has been made and submitted in good faith and without collusion or fraud with any other person. As used in this certification, the word "person" shall mean any natural person, business, partnership, corporation, union, committee, club, or other organization, entity, or group of individuals.


___________________________________________�Signature of individual submitting bid or proposal


___________________________________________�Name of business








TAX COMPLIANCE CERTIFICATION


Pursuant to M.G.L. c. 62C, §49A, I certify under the penalties of perjury that, to the best of my knowledge and belief, I am in compliance with all laws of the Commonwealth relating to taxes, reporting of employees and contractors, and withholding and remitting child support, as well as paid all contributions and payments in lieu of contributions pursuant to MGL 151A, §19A(b).





___________________________________________�Signature of person submitting bid or proposal





___________________________________________�Name of business





							


Date 








							


FID#


�
CITY OF SOMERVILLE


SIGNATURE FORM





�NAME OF COMPANY:


�ADDRESS:


TELEPHONE #:                                             Fax #:                                                   


DATE:                                      


SIGNATURE OF AUTHORIZED CONTRACTING OFFICIAL:


�


�TITLE:


�RESIDENCE:


 IF COMPANY IS A PARTNERSHIP:


FULL NAME AND RESIDENCE OF EACH PARTNER:


�


�


IF COMPANY IS A CORPORATION:


�THE CORPORATE NAME IS:


�THE CORPORATION IS ORGANIZED UNDER THE LAWS OF:


�THE PRESIDENT IS:


�THE TREASURER IS:


�THE CLERK/SECRETARY IS:


NAME OF CORPORATION THAT WILL APPEAR ON A POTENTIAL CONTRACTUAL AGREEMENT IF DIFFERS FROM ABOVE:       				                          .


NAME AND TITLE OF PERSON WHO WILL BE RESPONSIBLE FOR THE SIGNING OF A POTENTIAL CONTRACTUAL AGREEMENT IF DIFFERS FROM ABOVE:


�NAME:                                         TITLE:


NAME OF CLERK/SECRETARY WHO WILL ALSO BE SIGNING FOR A POTENTIAL CONTRACTUAL AGREEMENT IF DIFFERS FROM ABOVE:                                                 


�











INSURANCE SPECIFICATIONS


	INSURANCE REQUIREMENTS FOR AWARDED VENDOR ONLY:


l.  Prior to commencing performance of any work or supplying materials or equipment


covered by these specifications, the contractor shall furnish to the Office of the Purchasing


Director a Certificate of Insurance evidencing  the following:





A.  GENERAL LIABILITY - Comprehensive Form





         		Bodily Injury Liability.....….…..$ One Million


 


   	   	Property Damage Liability...…...$ One Million   





B.  COVERAGE FOR PAYMENT OF WORKER'S COMPENSATION BENEFITS   PURSUANT TO CHAPTER 152 OF THE MASSACHUSETTS GENERAL LAWS    IN THE AMOUNT AS LISTED BELOW:





    WORKER'SCOMPENSATION….....$Statutory                         					   


    EMPLOYERS' LIABILITY.............$ Statutory





C.  AUTOMOBILE LIABILITY INSURANCE AS LISTED BELOW:





    BODILY INJURY LIABILITY..........$ STATUTORY   





l.  A contract will not be executed unless a certificate (s) of insurance evidencing above


	described coverage is attached.


2.  Failure to have the above-described coverage in effect during the entire period of the contract shall be deemed to be a breach of the contract.


3.  All applicable insurance policies shall read:


    	"CITY OF SOMERVILLE" AS A CERTIFICATE HOLDER AS           ADDITIONAL INSURED FOR GENERAL LIABILITY ONLY ALONG WITH DESCRIPTION OF OPERATIONS IN SPACE PROVIDED ON CERTIFICATE.


4.  Please comply with our requirement of a thirty (30) day notice of cancellation and note on certificate.





	CERTIFICATE SHOULD BE MADE OUT TO:


	CITY OF SOMERVILLE


	  PURCHASING DEPARTMENT


	93 HIGHLAND AVENUE


    SOMERVILLE, MA. 02143


NOTE: IF DURING THE LIFE OF THIS CONTRACT YOUR INSURANCE EXPIRES, YOU SHALL BE RESPONSIBLE TO SUBMIT A NEW CERTIFICATE(S) COVERING THE PERIOD OF THE CONTRACT.  NO PAYMENT WILL BE MADE ON A CONTRACT WITH EXPIRED INSURANCE CERTIFICATE.  





�
City of Somerville


Invitation for Bids for





Commercial Water Meter Replacement, Repair & Maintenance





Bid No. 06-24





I.  General Information and Bid Submission Requirements	


Bid Delivery


All bids must be delivered to City of Somerville, Purchasing Department, 93 Highland Avenue, Somerville, MA  02143.


Bids must be delivered by 11:00 A.M. on Wednesday, March 8, 2006. 


1 copy of the bid should be submitted.  Bids must be sealed and marked as follows: “Bid for Water Meters, Bid No. 06-24.”


All bids must include a non-collusion form, tax compliance certificate, bid pricing sheet, and reference form as provided in this IFB.


Bid Signature


A bid must be signed as follows: 1) if the bidder is an individual, by her/him personally; 2) if the bidder is a partnership, by the name of the partnership, followed by the signature of each general partner; and 3) if the bidder is a corporation, by the authorized officer, whose signature must be attested to by the clerk/secretary of the corporation, and with the corporate seal affixed.


Time for Bid Acceptance


The contract will be awarded within 60 days after the bid opening.  The time for award may be extended for up to 45 additional days by mutual agreement between the City of Somerville and the apparent lowest responsive and responsible bidder (or, for a contract requiring payment, the apparent highest responsive and responsible bidder.)


Changes and Addenda


If any changes are made to this IFB, an addendum will be issued.  Addenda will be mailed or faxed to all bidders on record as having picked up the IFB.


�
Prevailing Wage Requirements


The Prevailing Wage Law applies to this contract.  The applicable prevailing wage rates are attached.


Questions about the IFB


Questions concerning this invitation for bids must be submitted in writing to: Karen Mancini,  City of Somerville, Purchasing Department, 93 Highland Avenue, Somerville, MA 02143 before 4:30 P.M. on Wednesday March 1, 2006.  Questions may be delivered, mailed, faxed to 617-625-1344, or e-mailed to kmancini@ci.somerville.ma.us.  Written responses will be mailed or faxed to all bidders on record as having picked up the IFB.


Modification or Withdrawal of Bids, Mistakes, and Minor Informalities 


A bidder may correct, modify, or withdraw a bid by written notice received by the City of Somerville prior to the time and date set for the bid opening. Bid modifications must be submitted in a sealed envelope clearly labeled "Modification No.__" to the address listed in part one of this section.  Each modification must be numbered in sequence, and must reference the original IFB.


After the bid opening, a bidder may not change any provision of the bid in a manner prejudicial to the interests of the City or fair competition.  Minor informalities will be waived or the bidder will be allowed to correct them.  If a mistake and the intended bid are clearly evident on the face of the bid document, the mistake will be corrected to reflect the intended correct bid, and the bidder will be notified in writing; the bidder may not withdraw the bid.  A bidder may withdraw a bid if a mistake is clearly evident on the face of the bid document, but the intended correct bid is not similarly evident.


Right to Cancel/Reject Bids	


The City of Somerville may cancel this IFB, or reject in whole or in part any and all bids, if the City determines that cancellation or rejection serves the best interests of the City.


Unbalanced Bids


The City reserves the right to reject unbalanced, front loaded, and conditional bids.


Bid Prices to Remain Firm 


All bid prices submitted in response to this IFB must remain firm for 60 days following the bid opening.


Unforeseen Office Closure


If, at the time of the scheduled bid opening, Purchasing Department is closed due to uncontrolled events such as fire, snow, ice, wind, or building evacuation, the bid opening will be postponed until 2:00 p.m. on the next normal business day.  Bids will be accepted until that date and time.


II.  Purchase Description/Scope of Services	


Contract Term Length and Renewal Options 		


The contract will remain in effect from March 1, 2006 through February 28, 2007, with two one-year options to renew.


Price Submission			


All prices must be specified, including the hourly rates, as requested on the price submission page.


Estimated Quantities 	


The City of Somerville has estimated the number of water meters that may be required, in phases (see bid pricing forms). The estimated cost of the contract will be $150,000.00. These estimates are estimates only and not guaranteed.  


Brand Name “Or Equal”�Any references to any brand name or proprietary product in the specifications shall require the acceptance of an equal or better brand.  Samples may be requested before a final decision is made.  The City has the right to make the final determination as to whether an alternate brand is equal to the brand specified. 


Warranty


The bidder warrants that (1) the Supplies sold are merchantable, (2) that they are fit


for the purpose for which they are being purchased, (3) that they are absent any latent


defects and (4) that they are in conformity with any sample which may have been


presented to the City.





The bidder guarantees that upon inspection, any defective or inferior Supplies shall be


replaced without additional cost to the City.  The Vendor will assume any additional cost


accrued by the City due to the defective or inferior Supplies.


The bidder guarantees all Supplies for a period of one (1) year, or as otherwise specified herein. 		 


Invoicing


Vendor will mail an invoice to the ordering department after completion and delivery of the order.





Cancellation


The City reserves the right to cancel this contract at any time on any grounds, including the vendor’s failure to comply with the specifications provided herein.








Specifications/Scope of Work





General


The work to be performed under this contract consists of furnishing labor, materials, and equipment for the specified installations and/or repairs at various city locations.





Examination of Property


The contractor shall fully inform himself of the existing conditions where the work is to be done.





Protection of Property


The contractor shall take all precautions to protect the property of the City from injury and shall be held responsible for all employees or any person or persons, instrument or device directly or indirectly employed by him.  Any corresponding damages shall be replaced, repaired and paid for by the contractor to the satisfaction of the City.





Quality of Workmanship


All work must be done in a thorough workmanlike manner.  





Experience 


The contractor shall have been established in the specified field for at least 5 years.





Laws and Regulations


The contractor shall comply with all Federal, State and Local laws regulations and ordinances governing this type of work.





Estimates and Surveys


The contractor shall, as required, furnish estimates and survey proposed work at no cost to the City.





Insurance


The contractor must provide the following insurance certificates before the contract can be fully executed:





General Liability: 		$1,000,000


Automobile: 			$1,000,000


	Workers’ Compensation: 	as required by General Law





The Certificates of Insurance must show the City of Somerville as the Certificate Holder and as Additional Insured.  Should any policies be cancelled before the expiration date, the issuing company must send written notice to the City 30 days prior to cancellation.



































SCOPE OF SERVICES





CURRENT STATUS





The City of Somerville has a population of more than 77,000 residents and a land mass of barely four (4) square miles.  This makes the City of Somerville one of the most densely populated communities in all of New England.  We have more than 14,000 water service customers that rely upon the Department of Public Works (DPW) to delivery a clean water supply every day.  As with many other water agencies, we are constantly working to improve our water system efficiency and keep water rates as low as possible.





Recently, the City completed an analysis program for the larger commercial water meters.  This project found several large meters that are obsolete, have been installed improperly, are over-sized for their application, or are simply not the best meter for measuring water flow.  Historically, the installation and maintenance of the large meters (3" and larger) has been the responsibility of the commercial client.  Lacking good direction from the City, commercial meters have not been installed in accordance with the manufacturers written standards.  As a result, even new meters are failing very shortly after installation.  





The large meters account for a large part of the City water revenue base and it is imperative the City get these meters working properly so the large meter water losses are not detrimental to our overall water rate structure.  It is also necessary this be done in as quick and efficient a manner as possible.  To this extent, the City is in the process of adopting new standards for water meter settings in the City and is now taking an active stand on correcting existing deficiencies.    





Beyond the obvious problems found with the large, commercial water meters are additional factors that are affecting the City metering system.  Our present meter database is in great need of improvement.  The City has relied on an older meter reading and billing process that requires a great deal of personnel resources to manage.  While not yet ready to move forward with a full implementation program for all City meters, the City has started to apply radio read devices to those meters that are difficult to access and difficult to read.  Presently, the City is using radio devices as manufactured by Neptune Technology Group to assist in the meter reading process.  Any provided solution to the City must be compatible with the Neptune R900 product, as well as other meter reading technologies.  





This BID outlines two phases of needed work.  Phase 1 will be for the immediate correction of problems at meter settings throughout the City, meter sizes 3" and larger.  Phase 2 is for optional services and product to address ongoing assistance with other department operations for the next three years as well as implementation of annual maintenance work that will keep our large meter settings working efficiently.  For this work, the City will require a local, full service meter contractor that has a proven history for this type work and is established in the community.











PHASE 1: SCOPE OF WORK





Phase 1 will be for the prompt replacement of approximately thirty-five (35) 3" through 8" commercial meter settings scattered throughout the City of Somerville.  The City has neither the time nor financial resource to initiate a program that will attempt to correct pipeline and plumbing deficiencies as have been created by a lack of good City standards and property owners with no metering expertise.  Our objective in this Phase 1 work is to install meters that:





Meet newly implemented water meter standards at the City.


Measure the water flow from very low to moderate high rates.


Can be installed in place of the existing meter(s) with no plumbing or pipeline work.


Do not require an upstream strainer.


Are not affected by elbows either before or after the meter.


Can adapt to and be read by the Neptune R900 radio read transmitter.





Many of the meter settings at the City have turbine type meters or compound meters installed with no upstream strainer or in-line test capabilities.  This has lead to frequent meter failures.  In many cases, the plumbing is relatively new, but does not provide sufficient room to correct the meter installation deficiencies without doing extensive replumbing.  This is both an effort and expense the City wants to avoid.  With the noted conditions in place, the most cost effective solution for the City is to install the newer, single-jet style meters that meet all the criteria as listed above.  This will be the solution for the majority of meter settings at the City, but not all.





Some of the meters to be replaced are current production Neptune Tru/Flo Compound type meters.  While these meters have not been installed with the needed strainer, they can be tested and, if necessary, repaired to meet new meter performance standards.  Once repaired, these meters can then be installed at a few existing meter locations were there is sufficient length to allow installation of the Tru/Flo and strainer without doing any other plumbing or pipeline work.  The City will provide instructions for those settings where this activity might occur.





There are a few settings that may be down-sized to a smaller, positive displacement (PD) type meter.  The City is still reviewing those settings and, if needed, the City will provide any needed 5/8” Positive Displacement meters; all other PD meters will be provided by the CONTRACTOR.  The CONTRACTOR will also supply all installation hardware.





Lastly, there is a least one 6" compound meter setting that will need to be upgraded to a fire service compound type meter; sufficient room exist for this consideration.  We also have one 8" setting that can be replaced by either an electronic type meter or a turbine type meter; the City will provide more instructions at a later date.  





Overall, our objective within the scope of Phase 1 is to get the large water meter settings reading 100% correctly and all reading with the current radio read devices.  We also want to accomplish this task in the least amount of time required as we are certain of the losses that are presently ongoing with the existing meters.  To this extent, the CONTRACTOR may be required to work off-hours or weekends to accommodate City water customers.








PHASE TWO: OPTIONAL, SCOPE OF WORK


The City of Somerville is making every effort to update the water meter reading process as well as the billing services to our customers.  We are currently installing the Neptune R900 radio read devices on any stuck or stopped meters that we are required to access and hope, eventually, to have all our meters on the radio read system.  But we are not prepared, financially, to deploy a full program at this time.  What we are doing is acquiring the radio read devices and water meters in small quantities (500 to 2,000 units) and doing as much work as our budget permits.  However, we may also need the resources of an outside CONTRACTOR to perform some of the more challenging work or to provide accelerated assistance when needed.  On the Bid price form is a listing of the service activities that may be required of the CONTRACTOR over the course of the next three (3) years.  Please quote a unit price for the first calendar year, 2006; an adjustment of 3% will be permitted for each subsequent calendar year to adjust for inflation.





CONTRACTOR QUALIFICATIONS


A single CONTRACTOR will be responsible for both Phase 1 and Phase 2 of the City of Somerville Project and will supply of all Project Management and labor services.  Those firms that intend to submit a Bid for this project must plan on providing their own facility to store product, materials, and supplies as well as a launch point for daily installation activity.  Products provided by the City will be made accessible to the CONTRACTOR during normal business hours.





Contractor


The CONTRACTOR will supply complete project control, coordination, database tracking, and supervision for the installation of water meters and radio read devices at residential and commercial settings throughout the City of Somerville. CONTRACTOR shall furnish all labor, transportation, tools, equipment, and incidental materials necessary to install the water meters, meter setting equipment, radio read modules, and any other work required to complete the project.  





Competency of Contractor


In the event the City is dissatisfied with the slow progress or incompetence in the performance of the work in accordance with the schedule for the completion, the City shall give the CONTRACTOR written notice in which the City shall specify in detail the cause of dissatisfaction.  Should the CONTRACTOR fail or refuse to remedy the matters complained within five (5) days after written notice is received by the CONTRACTOR, the City shall have the right to take control of the Work and either make good the deficiencies itself, or direct the activities of the CONTRACTOR.  In doing so, the City reserves the right to employ such additional help as the City deems necessary and shall be entitled to collect from the CONTRACTOR any expenses in completing the work.











Security


All the personnel, including the management of your firm, will be subject to the Somerville Police Department background (CORI) checks.  This includes social security  verification, criminal history, government terrorism watch list reference and drug testing.  Personnel may be required to be fingerprinted in accordance with Somerville Police requirements. 





Legal Interpretation


Work under this contract is subject to the provisions of the Massachusetts General Law (MGL) along with any associated amendments.  Any information or clarifications needed on any given portion of the Bid documents will be adjusted or corrected to those requirements as noted in the MGL.





Right to Inspect


The CONTRACTOR shall perform the actual performance of all superintendence and inspection, but the City shall at all times have access to the premises for the purpose of inspecting the work performed by the CONTRACTOR.





Waived Rights


It is fully understood and agreed that none of the requirements of this Contract shall be considered as waived unless changes are made in writing and then by the persons or parties executing this Contract.





Subcontractors


The CONTRACTOR shall not execute an agreement with any subcontractor or permit any subcontractor to perform any work included in this Contract unless the subcontractor information was provided with the original Bid and the CONTRACTOR has written approval from the City.  The CONTRACTOR shall serve as the Prime CONTRACTOR and shall perform no less then 80% of all labor and management services with his own forces.  Any listed subcontractor shall meet the same insurance requirements as that of the CONTRACTOR.  Prior to commencement of any work by either the CONTRACTOR or subcontractor, all certificates of insurance required per the Contract shall be filed with the City.  





Solicitation


The CONTRACTOR shall in no way solicit or accept any business from the homeowner, nor will the CONTRACTOR attempt to solicit or accept any business for a period of one year from the date of installation. 





Quality of Work


All material and workmanship shall be subject to inspection, examination, and testing by the City or any designated representative of the City at all times during the project.  The CONTRACTOR shall perform such tests as described in the specifications.  Rejected material shall be removed from the site of the work.  Work that is unsatisfactory, or fails to comply with the specifications in the opinion of the City, shall be brought to the attention of the CONTRACTOR and it will be his responsibility to have the work corrected.











Discrimination


The CONTRACTOR shall not discriminate against any employees or potential employees on the basis of race, creed, color, sex, or place of natural origin.  CONTRACTOR will also observe those federal requirements as listed under the Americans with Disabilities Act.





Safety


The CONTRACTOR shall take all necessary precautions for the safety of employees, on the work, and shall comply with all applicable provisions of Federal, State, and Municipal safety laws and building codes to prevent accidents or injury to persons on, about, or adjacent to the work site.  Any work in confined environments will be performed under the guidelines as established by the Occupational Safety and Heath Act (OSHA).





Monthly Billing Statement


The CONTRACTOR will prepare a complete monthly billing statement to the City for those services as noted on the Phase 1 Price Sheet or as listed in the Phase 2 Scope of Work.  Included with the monthly billing will be complete detail on the total numbers of services completed during the previous month, notation of City customers that have not responded or refused the meter installation, and a review of conformance to the productivity schedule.  The CONTRACTOR should also supply, in written format, any other articles, items, or occurrences that are having an affect on the Project and need to be addressed by the City.    





Extra Work


The City may at any time require the performance of extra work or changes in the work as may be found necessary or desirable.  The amount of compensation to be paid to the CONTRACTOR shall be made in accordance with whichever of the following plans the City elects:


		


A.	A price agreed upon between the parties and stipulated in order for the extra work.


B.	An extension of the unit prices as listed on the CONTRACTOR Price Sheet.


C.	A price determined by adding 15% to the "reasonable" cost of the extra work performed, with such "reasonable" cost to be determined by the CONTRACTOR in accordance with the following paragraph.





In arriving at "reasonable" cost for the purpose of (C.) above, the CONTRACTOR shall include the reasonable cost to the CONTRACTOR of all the materials used, all supervision, clerical assistance, labor assistance, materials, and the fair market rental rate for all machinery and equipment for the period employed directly on the work.  The reasonable cost for extra work shall also include the cost of any additional insurance that may be required including public liability, the cost of Workmen's Compensation Insurance, and Federal Social Security.  

















Employee Identification


All employees of the CONTRACTOR who come in contact with the public in the performance of work under this Contract shall be identified by wearing picture identification.  Employees shall have on them at all times, displayed in a conspicuous manner, an approved form of picture identification including CONTRACTOR’s name with company signature, employees name and signature, and the employees identification number, if assigned.  The CONTRACTOR shall provide to the City a list of employees to be used on the project that details the employees name, social security number, and a list of any vehicles that are to be used on the project, prior to commencement of any work under the Contract.  This list must be updated immediately within twenty-four hours upon any change.  City will not release or use this information for any reason other than the identification of CONTRACTOR employees assigned to this project. 





Vehicle Identification


All vehicles used by the CONTRACTOR shall display identification acceptable to the City at all times.  This identification shall be visible from/on both sides of the vehicle.  





Documentation


The CONTRACTOR shall have a computerized tracking system that tracks the rate of productivity for the entire project.  This system must be fully integrated with all phases of scheduling, production, customer contact documentation, accounting, and must be able to provide the City with either a hard copy or floppy disk of the monthly production status and refusal/no response list and be submitted with request for payment.





Communications


The CONTRACTOR shall have a 24-hour answering service to respond to any emergency that may arise.  All CONTRACTOR key field personnel must have a two-way means of communication, either radio or cellular phone, that allows immediate and continuous contact between CONTRACTOR, City, and emergency response personnel.  The CONTRACTOR shall furnish to the City the contact information for any appointments or emergencies that may arise.





City Project Liaison


The City shall furnish and pay for a Project Liaison to work in conjunction with the CONTRACTOR throughout the duration of the project.  The Project Liaison shall begin inspections at the commencement of the project.  The responsibilities of the Project Liaison will be inspection of workmanship, verification of old meter readings, liaison between the CONTRACTOR and City customer in event of refusals and lockouts, review of all meter installation documentation, and assisting in curb stop operation.  The CONTRACTOR shall provide the Project Liaison with daily work locations of each meter installer technician assigned to the project.	





Confidentiality


All of the reports, information, and data, furnished to or prepared, assembled or used by either the CONTRACTOR or the City shall remain confidential.  Prior to any publication by either party to outside sources, a written approval must be obtained from the City and/or the CONTRACTOR. The provisions of this paragraph shall remain in full force and effect following termination or cessation of the services required by this Contract.





Customer Notification


The CONTRACTOR shall have full and direct responsibility of all work performed under this Contract.  The CONTRACTOR is required to contact the individual homeowner or commercial user for the purpose of gaining access to the dwelling or structure.  The CONTRACTOR shall generate a total of three mailings in their attempt to contact the homeowner or water user.  All notices must be generated on a seven-day cycle.  If the homeowner or water user has not responded to the first notification letter by calling the CONTRACTOR for an appointment, then a second notice must be mailed seven days after the initial mailing.  If after seven more days an appointment still has not been made with the CONTRACTOR, a third notice must be sent to the homeowner or water user urgently requesting that an appointment be made. If after three computer documented mailings the customer has not yet responded, the CONTRACTOR shall give the City a computer printout of a "No Response" list and the City shall then attempt to schedule the meter installation on the CONTRACTOR's behalf.  All three notices that are mailed must explain the purpose of the contact, together with either a local or a toll free telephone number where the CONTRACTOR may be reached.  The City will pay all postage.  The City reserves the right to review the postage drafts.  





Access to Customer Property


At no time and under no circumstance are technicians working for the CONTRACTOR to “door knock” to obtain entrance into a customer home or commercial setting.  All meter installation activity is to be pre-scheduled and coordinated by the CONTRACTOR.  Should, upon arrival, a scheduled customer not be present or be unable to have the water service interrupted at that time, the CONTRACTOR Technician is to contact their office promptly and advise them of the situation.  The Technician will move on to next scheduled appointment.    





Hours of Operation


Work performed under this contract may be done under reasonable hours any day provided that the CONTRACTOR does not create a nuisance or disturb the peace and is working at the request of a City customer.  Normal hours for the project are expected to be Monday through Friday from 7:00 AM to 4:30 PM, and Saturday from 8:00 AM to 5:00 PM.  No Sunday work is anticipated unless specifically requested or required by the City customer.  There must be an office person available Monday through Friday, 8:00 A.M. to 5:00 P.M.





Protection of Work Site


Prior to commencement of meter installation, CONTRACTOR is to secure entire work site from vehicular or pedestrian traffic.  This requirement shall include, but not be limited to, placement of safety cones, barricades, lighting equipment, construction signs, flag men, or any other provisions to insure no harm to persons at or near the work site.  CONTRACTOR, whenever practical, is to direct any water flow as the result of testing or line flushing, away from vehicular of pedestrian traffic.  Under no situation should CONTRACTOR cause or permit any situation which creates a hazard to public safety or a public nuisance.  Should work area require a police detail, City will make arrangements and provide payment for this consideration.  


Installation of Large Meters


CONTRACTOR may provide for all installation hardware and equipment from their facility or may receive any City supplied meters, strainers, hardware, materials, tools, and equipment from the City premises and sign a receipt for those items given to CONTRACTOR.  All equipment or tools which are given CONTRACTOR on a temporary basis are to be returned to the City in good and working condition.





Unless a deviation is specifically allowed by the City, all installed large water meters that are three inch (3”) in size or greater shall have a plate or mesh type strainer installed directly upstream of the meter inlet.  





All meters are to be installed in accordance with the manufactures written recommendations or as required by the City in these specifications.  After new meter is installed, meter shall be pressure tested to insure no leaks are present on meter, any attached component, or on the connections.  Meter shall then be flushed to remove any lodged debris and insure its proper operation.  





With new meter installed, pressure tested, flushed and accuracy tested, CONTRACTOR will then install meter reading equipment, also to be installed in accordance with the subject manufacturers written recommendations.  Special care should be taken to install any wires, or reading equipment so it is not easily damaged by City, customer, or maintenance personnel who will need to periodically access the meter setting for inspection or routine maintenance.  CONTRACTOR should route wires along pipeline or conduits and secure with plastic stays or ties in such a manner to not interfere with valve operation or meter servicing.  Radio read devices should be securely mounted and located in an area away from normal access and in such a manner so it will not interfere with meter servicing.  CONTRACTOR will have to be aware of any limitations of meter reading equipment and insure installation will meet the requirements noted, but still allow proper meter reads be taken.  All radio read devices should be installed above grade and near an outer wall.  





All CONTRACTOR supplied hardware, flanges, test spools, fittings, gaskets, plumbing fittings, nuts, bolts, reducers, or any other components as listed in these specifications, shall be of new construction and conform to all requirements as recommended by the American Water Works Association (AWWA) for this type work.  Should City inspect the setting and find any components which appear used, defective, not meeting AWWA standards, or are of poor quality, City may request these items be replaced by CONTRACTOR.  City will only pay for the items installed and delivered to City in accordance with these specifications.  CONTRACTOR shall receive no payment for work performed nor for hardware or components requiring removal as the result of a failed inspection.    


























CONTRACTOR Supplies:


Below is a summary list of the primary components, supplies, materials, and tools the CONTRACTOR can expect to provided in order to complete the large meter obligations for this Project:


Supervision			All Transportation


Labor				Picture I.D.


Installation Tools		Valve Key Wrenches


Jumper Ground Cables		Staples				


Assorted Screws			Heavy Lift Equipment


Cable Ties (15 per site)	 	Shop Cart or Dolley 


Acetylene Torch Cutter		Chop Saw


Seal Press				Safety Equipment


T-25 Staple Gun			Seal Wire


Lead Seals				Camera and Film


Meter Installation Forms		Drill Bits


Meter Test Equipment		Sump or Sewage Pump


5/8” Bolts, Nuts, & Washers   	3/4” Bolts, Nuts, & Washers


3/4” - 8” Flange Gaskets		Thread Seal Compound / Teflon Tape


3/4” PD Meters (If Required)





CONTRACTOR is required to have all the above listed items readily available as well as any items not listed, but required to complete the Project in a professional capacity.


				


City Supplies


Customer Meter Data			Site Inspector 


Designated Coordinator		Letter of Introduction		


Warning Tags				Customer Service Assistance


Emergency Support			Special Tools


5/8” PD Meters (As Needed)		R900 RF Devices (As Needed)





Installation of Radio Read Device


With the new meter installed and the customer water service restored, the Technician will locate a suitable location for installation of the radio read device.  The device as selected by the City will operate by radio frequency transmission.  For this reason, the Technician should install the radio read device at the highest position obtainable, generally in the customer's floor joist area.  The device should not be installed near any large metallic objects nor should it be installed at a level below grade.  There may be certain instances that will require the radio read device be installed on the outside of the property.  The Technician should be prepared for these possibilities.  With the radio read device installed, the Technician will route the device wire along the wall and along the pipes and secure this wire using anchors or cable ties.  The Technician will then connect the wire to the new meter as directed by the radio read Vendor instructions.  With the wire connected, the Technician will program or activate the radio read device as instructed.  Once the installation and programming is complete, the Technician will clean any and all debris from the work area and store his tools.  











Work Order Completion


The Technician shall complete a meter installation Work Order form for each installation.  This requirement is in addition to any on-site electronic recording of data.  The information recorded shall include, but not be limited to; installation date, name of Technician, removed meter serial number, meter size, and the removed meter reading.  The form shall also include the new meter serial number, size, RF device ID number, and initial reading on the new meter.  If any outside, remote registers were present, their reading(s) will be recorded as well.  The Technician should make note of any preexisting leaks, condition of plumbing, presence of electrical ground, and include any additional parts or labor used to complete the installation.  The Technician shall supply the recorded data to the CONTRACTOR central office where the records can be updated.  The CONTRACTOR shall provide this information to the City not later than 12:00 PM the day following installation in an electronic format.  Hard copy records will be forwarded to the City with monthly billing.    





Radio Read Activation Verification


The City will assign trained staff members to verify the proper operation of all meter / radio read modules and check that data against data presented as CONTRACTOR completed work.  Any discrepancies between the CONTRACTOR reported data and the City verification data will be referred back to the CONTRACTOR for review and reconciliation.  In normal operation, all verification will be completed within thirty (30) days of CONTRACTOR installation.  





Equipment Responsibility


The CONTRACTOR shall assume full responsibility for all the materials, tools, and any other City equipment that is provided to the CONTRACTOR for temporary use.  This equipment may be Programmers, Meter wrenches, freeze pack devices, curb keys, special access keys, or any other piece of City owned equipment needed to complete the project.  The CONTRACTOR shall insure such property against loss or damage while in possession of the CONTRACTOR and, upon successful completion of project, will return to the City in good working condition.





Off-site Storage


The CONTRACTOR is responsible for storage of all equipment, old and new, at an off-site location that is not owned or operated by the City of Somerville.  The CONTRACTOR shall insure all equipment against loss.





Supervision


The CONTRACTOR is to designate a person in charge to coordinate those activities between the field group and the City.  This person will be readily available for any meetings or situations on the Project that require immediate attention.  The City shall retain the right to remove any representative of the CONTRACTOR who has failed to perform their job in a professional manner or is not following proper safety practices.  Any CONTRACTOR employee who is suspected of consuming alcohol or any substances that may impair safety and judgment, will be removed from the site promptly and not permitted to return to the job.  











Correction of Deficient Settings


Any installation found defective by a City representative will be repaired promptly at no additional cost to the City.  The City Project Liaison shall re-inspect any failed installation within a reasonable period of time.  





Plumbing Deficiencies


For all residential or commercial settings where there is not sufficient integrity of the service line to perform a meter installation, CONTRACTOR is to take a photograph as means of verification of the problem.  This shall be forwarded with the proper documentation to the City and the City will contact the property owner for correction.  Once the problem has been corrected, the CONTRACTOR will be advised. 


Hourly Rate Work


Any work required to complete the installation or retrofit of a City meter that is beyond what is considered normal or standard, shall be defined as nonstandard work and will be paid at the appropriate nonstandard hourly rates.  Nonstandard work will be calculated to the nearest fifteen (15) minute increment and shall only be for that time performing the additional work.  All work must be fully documented and, where possible, the work should be pre-approved by a City representative.  





Scrap Meters


All meters being removed are the property of City of Somerville.  The CONTRACTOR shall hold these meters at a secure location and permit the City, or City scrap vendor, to access these meters for disposal.  All removed meters shall be tagged for identification.  





Substantial Completion


The CONTRACTOR shall be issued a Notice of Substantial Completion after 95% of the project has been accepted by the City, exclusive of job sites with plumbing problems or where the City customer has not responded to the CONTRACTOR notices, after three attempts.  The Notice of Substantial Completion does not in any way absolve the CONTRACTOR from the guarantee and warranty period of one (1) year nor any other obligations as cited by the Contract documents.





Qualifications of CONTRACTOR


In order to be considered for an award, the CONTRACTOR must submit a history of at least ten (10) years experience performing Project Management and Meter Installation and having been installing not less than 10,000 meters per year for the past five years with a high degree of customer satisfaction.  The CONTRACTOR shall certify that all work presented has been performed under his own name and with his own forces during this time.  The CONTRACTOR shall furnish a list of references on all instate and out-of-state projects and must list all work that the CONTRACTOR has failed to complete for any instate or out-of-state project.  The CONTRACTOR will provide samples of documents to be used at the City.  The City reserves the right to make final approval of any and all documentation that will be forwarded to any City residential or commercial customer.  The City may make such investigations as it deems necessary to determine the ability of the CONTRACTOR to perform the work, and the CONTRACTOR shall furnish to the City such information and data required for this purpose.  


	





Proximity to City


Phase 1 work activity will be scheduled for completion in as prompt a manner as possible.  But ongoing work performed under a Phase 2 consideration may occur at any time and may require near immediate response from the CONTRACTOR.  For this reason, only those CONTRACTORs with permanent local presence will be considered for this work.  In addition to the 24 hour contact requirement already listed in these specifications, the CONTRACTOR must be able to respond within two (2) hours of any emergency notice as provided by the City.  This refers to broken meters or water lines where CONTRACTOR has been working and are likely attributed to CONTRACTOR work activity.  Should the failure be attributed to CONTRACTOR workmanship, there will be no compensation for the repairs.  In some cases, the CONTRACTOR may be requested to make an emergency response to a location that has not yet been addressed by the CONTRACTOR, but has some imminent failure that must be corrected.  In these instances, the CONTRACTOR shall be allowed to bill for work at 1 1/2 times the normal hourly rate(s) quoted, portal to portal.  





Right to Interview


The City reserves the right to conduct personal interviews with any CONTRACTOR before or after the Bid Opening in order to determine the reputation and capability of the CONTRACTOR to carry out the work.  The CONTRACTOR shall include with their Bid the resumes and qualifications of any persons that will be assigned, in whole or in part, to the City Project.





City Database


To as great and extent as possible, the City shall supply the CONTRACTOR will a full copy of their customer database in an ASCII or spreadsheet format for CONTRACTOR use.  This data must be protected at all times and the CONTRACTOR is strictly forbidden to use this data for any purpose other than the performance of their work in this Project.  At minimum, the City will provide the following information:


		A.) Name of Occupant / Business


		B.) Address


		C.) Account Number (If applicable)


		D.) Existing Meter Size


		E.) Existing Meter Serial Number


		F.) Telephone Number (If known)





Under certain conditions, the CONTRACTOR may only be provided meter books or meter records that are not in an electronic format and will require the CONTRACTOR insert these records into some form of Project Management database.  Under these circumstances, the CONTRACTOR will be permitted to bill for those hours compiling this data at the hourly rate listed under Phase 2 work.  





Contractor Supplied Information


The CONTRACTOR will also provide a list of key personnel that will be assigned in whole or in part to this Project, what is their experience, and what skills they will bring to use at the City.  The City reserves the right to interview any assigned CONTRACTOR personnel to determine their familiarity and knowledge of the work components in this Project.  Should the presented personnel be unfamiliar with the nature of the City Project or unqualified for the assigned task, the CONTRACTOR will be granted an opportunity to replace these parties with other assign personnel.  Should the CONTRACTOR fail to satisfactorily demonstrate the qualifications needed to address all City concerns, the City reserves the right to interview other potential CONTRACTORs.





The City of Somerville will make award of the Contract to that CONTRACTOR that has demonstrated the qualifications needed to successfully complete all work components, has the most responsive and responsible Bid, and exhibits the least cost to the City, in that order.  





References


	Please include on a separate sheet a minimum of three references for whom similar Water Meter repair and installation service has been provided.  Include contact person and telephone number along with company name and address. 





All prices must include travel time, fuel costs, delivery, and any other additional costs not provided for on the bid price sheet.








III.  Quality Requirements		


Please respond to the following questions.  A negative response to any of the following questions will automatically disqualify the vendor:





�
Yes�
No�
�
Have you been in the business of water meter installation, repair and maintenance for at least ten years?�
�
�
�
Have you been installing at least 10,000 meters per year for the past five (5) years, with a high degree of customer satisfaction?�
�
�
�
Are you able to provide a solution to the City that is compatible with the Neptune R900 product, as well as other meter reading technologies? �
�
�
�
Are you able to provide all the necessary Project Management, labor, tools, equipment and services for this project, as requested?�
�
�
�
Are you able to supply sample documentation that will be used in the implementation of this project?�
�
�
�
Will all your employees be provided with picture identification and will all your vehicles display identification, while occupied in the city on this project?�
�
�
�
Will you have a 24-hour answering service to respond to any emergencies that may arise?�
�
�
�
Will your key field personnel have two-way communication (either radio or cell phone) that allows immediate communication between the City personnel?�
�
�
�
Are you able to provide a list of the key personnel, their skills and experience, that will be assigned to this project?�
�
�
�
Vendor:  Are you a State Office for Minority and Women Owned Business Assistance (SOMWBA) certified minority or woman owned business?�
�
�
�
�
IV.  References				


REFERENCE FORM





Bidder:_____________________________________________





IFB Title: Commercial Water Meter Replacement, Repair & Maintenance





Bidder must provide references, from other Muncipalities, that similar services have been provided:  (Massachusetts preferred)





Reference:________________________________  Contact:____________________


Address:___________________________________ Phone:____________________


__________________________________________    Fax:_____________________


Description and date(s) of supplies or services provided:________________________


________________________________________________________________________________________________________________________________________________________





Reference:________________________________  Contact:____________________


Address:___________________________________ Phone:____________________


__________________________________________   Fax:______________________


Description and date(s) of supplies or services provided:________________________


____________________________________________________________________________


____________________________________________________________________________





Reference:________________________________  Contact:____________________


Address:___________________________________ Phone:____________________


__________________________________________   Fax:______________________


Description and date(s) of supplies or services provided:________________________


____________________________________________________________________________


____________________________________________________________________________








V.  Rule for Award				


One contract will be awarded to the responsible and eligible bidder offering the lowest prices and hourly rates, for Phase 1.


VI.   Bid Pricing Sheet				


Please quote on the following items.  Prices are to include delivery, the cost of fuel and all other charges related to the services listed below.  Prices are to remain the same for the entire contract period.  Below is a listing of the service activities that may be required of the CONTRACTOR over the course of the next three (3) years.  Please quote a unit price for the first calendar year, 2006; an adjustment of 3% will be permitted for each subsequent calendar year to adjust for inflation.





PHASE 1: BID FORM       From 3/1/2006 through 2/28/2007, with two 1-year options





Quan.�
Line Size/ Length�
Meter To Be Installed / Work Item�
Meter Unit Cost�
Est. Unit Hdwr.�
Labor Unit Cost�
Total Unit Cost�
Extended Total�
�
12�
3" X 12"�
3" Single-jet�
$�
$�
$�
$�
$�
�
1�
3" X 17"�
3" Single-jet�
$�
$�
$�
$�
$�
�
1�
3" X 17"�
Rt.Sz. -1" PD�
$�
$�
$�
$�
$�
�
4�
4" X 14"�
4" Single-jet�
$�
$�
$�
$�
$�
�
1�
4" X 14.5"�
4" Single-jet�
$�
$�
$�
$�
$�
�
8�
4" X 20"�
4" Single-jet�
$�
$�
$�
$�
$�
�
2�
4" X 29"�
4" Single-jet�
$�
$�
$�
$�
$�
�
2�
4" X 29"�
4" Repaired Compound�
NA�
$�
$�
$�
$�
�
2�
6" X 36.6"�
Rt.Sz. - 4" Single-jet�
$�
$�
$�
$�
$�
�
1�
6" X 36.5"�
Fire Service Compound�
$�
$�
$�
$�
$�
�
1�
8" x 42"�
High Flow Turbine Meter�
$�
$�
$�
$�
$�
�
20�
NA�
Hourly Rate�
NA�
NA�
NA�
$         /Hr�
$�
�
Phase 1 Total Cost  �
$�
�
Written: �
�
Actual hardware cost will be CONTRACTOR direct cost plus ______ % mark-up.


"Hdwr." = Hardware.  Must be identified by item for each subject setting.


"Rt.Sz." = Right-size.  Other right-size installations may be requested.














The City will provide needed Neptune R900 radio read units that come with a short wire.  The City will also provide any needed programming device for temporary CONTRACTOR use.  Any other needed wiring must be provided by the CONTRACTOR.  All radio read units are to be installed indoors near an outside wall at an above grade elevation.  Labor quoted is to include all on-site labor expense, all travel and living expense, and all needed tools or equipment expense.  Hourly rate is a crew rate that will only apply to unforeseen work to be competed by the CONTRACTOR that is beyond normal work expectation and pre-approved by the City.  City will assist with location and operation of any street valves.  














PHASE TWO: OPTIONAL, SCOPE OF WORK





The City of Somerville is making every effort to update the water meter reading process as well as the billing services to our customers.  We are currently installing the Neptune R900 radio read devices on any stuck or stopped meters that we are required to access and hope, eventually, to have all our meters on the radio read system.  But we are not prepared, financially, to deploy a full program at this time.  What we are doing is acquiring the radio read devices and water meters in small quantities (500 to 2,000 units) and doing as much work as our budget permits.  However, we may also need the resources of an outside CONTRACTOR to perform some of the more challenging work or to provide accelerated assistance when needed.  Below is a listing of the service activities that may be required of the CONTRACTOR over the course of the next three (3) years.  Please quote a unit price for the first calendar year, 2006; an adjustment of 3% will be permitted for each subsequent calendar year to adjust for inflation.








The services listed in this section are no guarantee of work for the CONTRACTOR.  As indicated under the column titled Anticipated Quantities, work will be given to the CONTRACTOR in groups or segments as the City is prepared to complete another portion of the distribution system and as funding permits.  Further requirements are listed on the Contractor Qualification section of this solicitation.  Any CONTRACTOR provided meters shall be directly warranted by the manufacturer or manufacturers representative, if other than the CONTRACTOR.
































PHASE TWO: BID FORM (OPTIONAL, SCOPE OF WORK)


From 3/1/2006 through 2/28/2007, with two 1-year options to renew








Anticipated Quantities�
Description of Service or Work�
Unit Price - OR - 


Rate / Hour�
�
500 - 1000


All in confined service area.�
5/8" through 1" residential meter installation work throughout the City.  Requires customer notice mailing and appointment scheduling and installation of the meter and/or radio read device, as provided by the City.�
$�
�
20 - 50�
1 1/2" and 2" residential and light commercial meter and/or radio read device installation.  All scheduling is the responsibility of the Contractor.�
$�
�
10 - 20�
On-site testing of the 3" through 8" commercial water meter to insure accuracy.�
$�
�
10 - 20�
Hourly crew rate; repair or replacement of 3" and larger commercial water meters throughout the City.�
$                   /Hr�
�
50 - 100�
Hourly rate; performing plumbing type work or added work related to the installation of the 5/8" through 1" water meters.  �
$                   /Hr�
�
25 - 50�
Hourly rate; performing plumbing type work or added work related to the installation of the 1 1/2" and 2" water meters.  �
$                   /Hr�
�
10 - 20�
Hourly rate; compiling database records into a useable database file for Project Management work and scheduling.�
$                   /Hr�
�
30 – 100�
3/4” Positive Displacement Meter �
$�
�
30 – 100�
1” Positive Displacement Meter �
$�
�
30 – 50�
1  ½” Positive Displacement Meter �
$�
�
30 – 50�
2” Positive Displacement Meter �
$�
�
NA�
Hardware or meter parts mark-up over costs.�
                       %  �
�






Name of Company:  ________________________________________________





Submitted By: _____________________________________________________





Address:  ________________________________________________________





________________________________________________________________





Phone: _______________________   Fax: _____________________________





Date: ________________________


�PAGE  �15�

















